Roof Truss Bracing

What is a Brace?
A roof truss is made of several pieces of wood that are joined together. Each piece of the truss is referred to as a "member". A brace is a member that prevents a structural element from buckling or racking. Members are generally subjected to tensile or compressive forces. As shown in figure 1, tension forces tend to pull a member apart while compressive forces tend to push a member together.

When a compressive force becomes great enough, it will tend to buckle or bow a member as shown in the left side of figure 2. This can be demonstrated by placing a yardstick on end on the floor while holding the upper end. When you push down on the upper end, the yardstick buckles in its narrow direction. The right side of figure 2 demonstrates the use of a brace at the middle of the structural member. Under the same compressive force, the brace prevents the member from buckling. This can be demonstrated by applying the same downward pressure on the yardstick with one hand, while restraining it at the middle with your other hand. The yardstick will not buckle under the same pressure.

A brace can also be used to prevent structural elements from racking. The left side of figure 3 shows a rectangular structural frame that is racked due to a force applied to its top corner. The right side of figure 3 shows the same rectangular frame with a diagonal brace added to prevent racking when the same force is applied. The triangles formed by the addition of the diagonal brace are the fundamental basis for the structural design of trusses.

Truss bracing can be broken down into three categories; temporary bracing, permanent bracing of individual truss members, and permanent bracing for the overall stability of the structure.

Temporary bracing
Temporary bracing is used during the erection of roof trusses to prevent the trusses from bucking and falling over during the erection process. It is a series of continuous braces along the top and bottom chords of the truss and may include "X" bracing between vertical web members of the trusses. See figure 4 for the nomenclature of truss members.

Temporary bracing is extremely important to life safety during the erection of trusses and is required by all major building codes. This bracing is the responsibility of the builder and the builder should consult the literature described in the code, and available from the truss industry, on the proper use of temporary bracing during the erection of trusses. Information on the use of temporary bracing of trusses is generally provided by the truss manufacturer.

Permanent bracing of individual truss members
Permanent bracing of individual truss members prevents certain members of individual trusses from buckling under compressive loads. During the design process of the truss, the members are checked for buckling and for slenderness restrictions. If a member is found to buckle in the narrow direction, a brace is added. If a member is found to buckle in the wide direction, the size of the member is increased.

Under normal gravity loads the top chord of a typical truss is in compression and tends to buckle in its narrow direction (sideways). The plywood roof sheathing prevents the top chord from bucking sideways. Other members of the truss, such as various web members and the bottom chord may also experience compressive forces under different load conditions. Some web members may be under compressive loads caused by gravity loads, while other web members or the bottom chord may be subjected to compressive forces due to uplift forces caused by high wind events such as hurricanes. Under certain combinations of member length and magnitude of the compressive force, the member may buckle in the narrow direction. When this combination is reached, bracing of the web member or bottom chord is required.

The three most common methods of bracing individual truss members are: (See in figure 5)

Continuous lateral bracing is generally used when the members of adjacent trusses line up with each other. A 1x4, 2x4, or larger brace is run across the truss member and the adjacent members, perpendicular to the trusses. If one brace is required, it is placed at about the midpoint of the webs to be braced as shown in figure 5. If two braces are required due to a higher compressive force, they are placed at about the third points of the webs. The continuous lateral bracing must be restrained at the ends to prevent all the webs from buckling in the same direction. This is accomplished by fastening the ends of the lateral bracing to an appropriate point of the building structure, or by adding additional diagonal bracing at the ends, and intermediate intervals, to brace the lateral bracing. "T" bracing is generally used when the web requiring bracing does not line up with the webs of adjacent trusses. It consists of adding a 1x4, 2x4, or larger brace along the length of the web to be braced forming a "T" when looking at the cross section of the web and brace. Scab bracing, like "T" bracing is generally used when the web requiring bracing does not line up with the webs of adjacent trusses. It consists of adding a member of the same size as the web, nailed to the side of the web, effectively doubling the thickness of the member.

The design of permanent bracing of individual truss members is the responsibility of the truss designer as is generally shown on the individual truss engineering.

Permanent bracing for the overall stability of the structure
Permanent bracing for the overall stability of the structure is required by the major building codes and is required to brace the overall truss system and structure as an entire system. The design of this bracing is generally the responsibility of the building designer. An example of this bracing would be the bracing at the gable ends of a roof system to stabilize the gable ends. See figure 6 for the various types of bracing that may be required at a gable end.

Some building codes also require specific bracing as a minimum requirement. This bracing is generally necessary for the overall stability of the structure.

In 1992, Hurricane Andrew caused major damage to the South Florida area. Gable ends being pushed in or pulled off buildings caused a substantial amount of damage.

A hip roof slopes down to the walls on all four sides of a building. A gable roof slopes down to two sides that are opposite each other and forms a triangular wall section at the other two sides. The triangular wall sections above the eaves are called gable ends and provide a large vertical surface, which must resist wind forces. Some of the longer verticals of the gable end trusses require bracing to keep the verticals from bucking from sideward wind loads. The truss designer generally designs this bracing.

Many gable ends that failed during in hurricane Andrew had this bracing installed on the verticals. The gable end failures resulted because bracing of the overall gable system was not provided. This bracing is generally the responsibility of the building designer.